## Sheet1
recommendations for parameters | [10 empty] | other times:
binning a conc curve image: 0.27 sec
2 exponential fit | [10 empty] | rendering (1 overlay): 2.5 sec
2019-11-12 1-3 DMSO
| inputs |  |  |  | time (s) | fit results (ns) |  |  |  |  | all fits were standard spatial bin 4, adc bin 1 on 256x256
trial | maxFunEval | stepTol | optimTol | constraintTol | fitting image | chi sq (avg) | average lifetime | lifetime stdev |  |  | all fit params free, shift fixed to 0.
0 | 100000 | 0.0001 | 0.0001 | 1e-06 | 44.7 | 1.1597 | 1.5526 | 0.1073
1 | 100000 | 0.0001 | 0.01 | 1e-06 | 33.2 | 1.1601 | 1.5572 | 0.1068 |  | no downside here
2 | 100000 | 0.0001 | 0.1 | 1e-06 | 18.8 | 1.1785 | 1.6287 | 0.0803
3 | 100000 | 0.01 | 0.0001 | 1e-06 | 30 | 1.1671 | 1.5717 | 0.1108
4 | 100000 | 0.001 | 0.0001 | 1e-06 | 42.4 | 1.16 | 1.553 | 0.1068
5 | 100000 | 0.001 | 0.01 | 0.01 | 34 | 1.1603 | 1.5576 | 0.1071 |  | seems ok too
3 exponential fit (indol 7/5/19 conc data, image 1-1)
| inputs |  |  |  |  | fit results (ns)
trial | maxFunEval | stepTol | optimTol | constraintTol | fitting image | chi sq (avg) | average lifetime | lifetime stdev | <- looking at tm only for ease right now
0 | 100000 | 0.0001 | 0.0001 | 1e-06 | 88.5 | 1.1288 | 0.2735 | 0.0333
1 | 100000 | 0.0001 | 0.01 | 1e-06 | 79.3 | 1.1324 | 0.2742 | 0.0335 |  | no-brainer to add in this improvement
2 | 100000 | 0.0001 | 0.1 | 1e-06 | 56.7 | 1.1591 | 0.2829 | 0.0338 |  | probably still OK but maybe getting borderline?
3 | 100000 | 0.01 | 0.0001 | 1e-06 | 48.2 | 1.3175 | 0.2801 | 0.0353
4 | 100000 | 0.001 | 0.0001 | 1e-06 | 75.7 | 1.1956 | 0.2744 | 0.033 |  | no-brainer to add in this improvement
5 | 100000 | 0.0001 | 0.0001 | 0.0001 | 86.7 | 1.1288 | 0.2735 | 0.0333 |  | no-brainer to add in this improvement
6 | 100000 | 0.0001 | 0.0001 | 0.01 | 86.7 | 1.1288 | 0.2735 | 0.0333 |  | (constraint tol is really just about how close program can get to constraints)
7 | 100000 | 0.001 | 0.01 | 0.01 | 70 | 1.1992 | 0.2748 | 0.0333 |  | (this update sacrifices nothing in accuracy)
8 | 100000 | 0.01 | 0.01 | 0.01 | 48 | 1.3175 | 0.2801 | 0.0353 |  | probably still fine for a faster mode
9 | 100000 | 0.01 | 0.1 | 0.01 | 45.2 | 1.3289 | 0.2833 | 0.0358 |  | probably still fine for a faster mode